## Product 3 Intake Form
Product 3 Bid Intake Form
YELLOW CELLS ARE INPUTS
Project Information
Seller:
Project Name:
Interconnection Point:
Description of Energy Delivery Point (Pnode if known):
Local Capacity Area (CAISO System, Big Creek-Ventura, LA Basin, etc.):
Bid Entry - only offers 1a and 1b are REQUIRED inputs
Input | Conforming Assumption (if applicable) | Offer 1a | Offer 1b | Offer 2 (if applicable) | Offer 3 (if applicable) | Offer 4 (if applicable)
Fixed Price in $/kW-month of Storage Capacity:
Fixed Price Escalator (%) | 0%
Storage Capacity in MW (total project capacity): | Maximum=50 MW; Minimum=5 MW
RA Capacity (NQC MW): | Maximum=50 MW; Minimum=5 MW
Maximum Storage Level in MWh (number representing greatest amount of energy that may be discharged from the Storage Unit) | Maximum of 200 MWh
Minimum Storage Level in MWh (number representing lowest level to which Storage Unit may be discharged): | Minimum of 0 MWh
Maximum Charging Capacity in MW (highest level at which Storage Unit may be charged) | Maximum=50 MW; Minimum=5 MW
Minimum Charging Capacity in MW (lowest level at which Storage Unit may be charged) | Maximum=1 MW; Minimum=0.1 MW
Maximum Discharging Capacity in MW (highest level at which Storage Unit may be discharged) | Maximum=50 MW; Minimum=5 MW
Minimum Discharging Capacity in MW (lowest level at which Storage Unit may be discharged) | Maximum=1 MW; Minimum=0.1 MW
Maximum Round-Trip Efficiency in % (ratio of maximum charging energy to maximum discharging energy)
Minimum Round-Trip Efficiency in % (ratio of maximum charging energy to maximum discharging energy) | Minimum of 60%
Ramp Rate in number of MW per minute:
Monthly Cycles (number of times per month Buyer may fully charge and discharge the Storage Unit): | 30, 60 | 30 | 60
Charging Daily Dispatch Limits (maximum number of times per day): | unlimited
Discharging Daily Dispatch Limits (maximum number of times per day): | unlimited
Ancillary Services Capability (list frequency regulation, spin, regulation up, regulation down, etc., and specify relevant operating parameters for each)
Project Station Use (MWh per year) NOTE: Buyer will not be responsible for Station Use and Station Use will not be provided by the Storage Units.
Guaranteed Storage Availability in % (percentage of hours each month the Storage Units will be available): | 98%
Delivery Term (years): | 15
Targeted Commercial Operation Date (MM/DD/YY): | on or before December 31, 2021
Other Operating Limits